Amity University Haryana

NAAC SSR

Criterion 7.1.3 Alternate Energy Initiatives

Use of renewable Energy

The University has installed solar power plant in October 2017, having capacity of 500 kW, which works out to be 10% of the peak load demand, exceeding the national policy of 5% of load to be met by renewable sources of Energy.

The yearly generation share of solar energy has been nearly 10% of the total consumption of the campus. The plant also achieved 15% CUF with zero breakdown hours to generate solar energy for full 365 days.

Energy Consumption & Solar Energy Generation data: -The average yearly data from 2014 to 2019 is as under

| Yearly Average Energy Consumption | Yearly average energy generated by Solar | Total Renewable Energy Generated So Far (kWh) | Energy Supplied to Grid |
| --- | --- | --- | --- |
| 56,72,929 kWh | 5,01,685 kWh | 10,03,000 kWh | Nil |

The annual power consumption & power requirement met through solar plant for year 2018-19 is as under

| Annual Power Consumption (2018-19) | Annual Power Requirement met by Solar (2018-19) | Energy Supplied to Grid (2018-19) |
| --- | --- | --- |
| 67,66,063 kWh | 7,12,983 kWh | Nil |

Percentage of Annual Power Requirement met by renewable energy

=   7,12,98367,66,063X 100 = 10.53%

The Energy data month wise & yearly from 2014 to 2019 is tabulated below :

| Months | Month Wise Energy Consumption (kWh) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 |
| Jul | 365000 | 294000 | 494000 | 480000 | 657420 |
| Aug | 394000 | 660000 | 661000 | 100000 | 855180 |
| Sep | 406000 | 727000 | 794000 | 679000 | 661890 |
| Oct | 307000 | 576000 | 622000 | 700800 | 614851 |
| Nov | 267000 | 311000 | 322000 | 446340 | 335000 |
| Dec | 213000 | 304000 | 239000 | 307890 | 312000 |
| Jan | 214000 | 310000 | 271350 | 350730 | 393000 |
| Feb | 285000 | 293000 | 334320 | 344890 | 368000 |
| Mar | 242000 | 406000 | 371010 | 436050 | 350900 |
| Apr | 380000 | 582000 | 739410 | 748980 | 846660 |
| May | 420000 | 558000 | 848970 | 830310 | 778209 |
| Jun | 369000 | 434000 | 588330 | 571200 | 592953 |
| Total | 3862000 | 5455000 | 6285390 | 5996190 | 6766063 |

| Months | Month Wise Solar Energy Generation (kWh) |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  | 2014-15 | 2015-16 | 2016-17 | 2017-18 | 2018-19 |
| Jul | 0 | 0 | 0 | 0 | 66714 |
| Aug | 0 | 0 | 0 | 0 | 53164 |
| Sep | 0 | 0 | 0 | 0 | 55038 |
| Oct | 0 | 0 | 0 | 5418 | 56572 |
| Nov | 0 | 0 | 0 | 20691 | 53454 |
| Dec | 0 | 0 | 0 | 22707 | 48496 |
| Jan | 0 | 0 | 0 | 29413 | 42238 |
| Feb | 0 | 0 | 0 | 30254 | 45020 |
| Mar | 0 | 0 | 0 | 45031 | 57291 |
| Apr | 0 | 0 | 0 | 47807 | 83980 |
| May | 0 | 0 | 0 | 43982 | 78184 |
| Jun | 0 | 0 | 0 | 45084 | 72832 |
| Yearly solar Generation | 0 | 0 | 0 | 290387 | 712983 |

Energy consumption scenario

The University and all its constituents units are committed to deliver and continually improve all the defined activities thru Implementation and adoption of best available practices. The total sanctioned load of Amity University Haryana is 5050 kW and based upon their consumption patterns the same has been categorized in five broad categories and the share of each is depicted in terms of percentage share of total load.

Load Profile of Amity University- Haryana

The Month wise energy consumption of Amity University- Haryana varies due to seasonal variations. The operation of chiller plant and air conditioners in summer season overshoots the energy consumption pattern to peak levels whereas in winter season the energy consumption pattern merely crossed the 50% of sanctioned load. The month wise energy consumption patterns are   depicted below

Month Wise Energy Consumption

The maximum demand is the measure of growth of infrastructure in the campus. With growth of campus infrastructure there has been growth in yearly consumption & Maximum demand accordingly. The Year wise maximum demand of energy has been as below

Annual Consumption (MWh)

Maximum Demand