Amity University Haryana

NAAC SSR

Criterion 7.1.4 Percentage of annual lighting power requirements met through LED bulbs

Lighting is another very critical aspect of energy consumption. University building and streets are equipped with proper lighting facility with optimal energy consumption. A LED lighting regime is under process where 50% of lighting is met through LED with target to convert it to 100%.

Lighting Load (In kW)

| Item | Academic Blocks | Hostel Blocks | Faculty Flats | AIMC | Out Area | Total KW |
| --- | --- | --- | --- | --- | --- | --- |
| Tube Light 36 watt | 1510 | 1930 | 1010 | 496 | 104 | 181.8 KW |
| CFL 36 watt | 1010 | 190 | - | 98 | 52 | 48.6 KW |
| CFL 5 Watt to 26 Watt | 496 | 196 | - | 95 | 55 | 10.10 KW |
| LED Tube Light 18 Watt | 6150 | 7225 | 575 | 18 | - | 251.42 KW |
| Total KW |  |  |  |  |  | 491.92 KW |

The power consumption of all lights for about 8 hours per day for 250 days in a year is considered as average utilization since it varies as per the working days, holidays and academic breaks.

Annual Lighting Power Requirement = 491.92 X 8 X 250 = 9,83,840 kWh

Annual Lighting Power Requirement met through LED bulbs

= 251.42 X 8 X 250 = 5,02,840 kWh

Percentage of annual lighting power requirements met through LED lights

=   5,02,8409,83,840X 100 = 51.10%